Andrew Palmer

Head of Housing and Planning Services

Hastings Borough Council

Muriel Matters House,

Breeds Place

Hastings     TN34 3UY  Fao Zoe Taylor

12 April 2024	our ref: HS/3484/CCLB

your ref: HS/CC/23/00602/ZT

Dear Mr Palmer

Planning (Listed buildings and conservation areas) act 1990 as amended 2015

HS/3484/CCLB - Listed building consent for various maintenance and repair works including repointing the front elevation of the library, rub down of the tower roof and preparation of internal stairwell to receive new lime-based plaster and breathable paint. The works also involve investigation of party wall roof, tower roof and rainwater goods to ascertain cause of damp ingress and carry out minor repair works and decorations to lightwell single glazed timber windows to the library Hastings Central Library, 13 Claremont, Hastings, East Sussex, TN34 1HE (Within land edged red on applicants plan no. DR/B/1000/S4 Rev PP01)

Under the powers delegated to me, I have issued a Written Notice dated 12 April 2024 authorising the carrying out of the above development for the purposes of  Regulation 13 of the Planning (Listeb Buildings and Conservation Areas) Act 1990 As Amended 2015.  Listed Building Consent is now granted.  A copy of the Written Notice is attached hereto.

Therefore, in accordance with Regulation 13 would you please accept this letter in conjunction with the plans shown as formal notification of the development for the purpose of your Register of Planning Applications and Decisions.

Approved Plan(s) and documents numbered:

Hastings Library Repair Work - Heritage Note July 2023, DR/B/1000/S4 Rev PP01 - site Location, 228176 Fcg Mb 03 Dr B 2001 D2 C02, 228176 Fcg Mb 03 Dr B 2002 D2 C02, 228176 Fcg Mb 03 Dr B 2003 D2 C02(1), Design Calculations 2000 Cpd Zz Ca X 1105 A01, Design Risk Assessment 2000 Cpd Zz Ra X 1105 A01, Section Three Scope Of Works Phase 2 228176 Fcg Xx Xx Sp B 0402 S2 P02 Section 3   Phase 2, Facade Access Towers Location, Detail, Plan View 2000 Cpd Zz Dr X 1105 A02, Facade Access Towers Front Elevation, Sections A A & B B 2000 Cpd Zz Dr X 1106 A03, Section Three Scope of Works Phase 1 228176 Fcg Xx Xx Sp B 0402 S2 P02 Rev A received 05/04/2024

Yours sincerely

Edward Sheath

Edward Sheath

Head of Planning and Environmental Services

T: 	01273 481846

E: 	Development.control@eastsussex.gov.uk

Copies to:	Clare Rowsell – Property, Business Services

Mrs Young, Frankham Consultancy Group - Agent

Local Land Charges, Central Services Hastings Borough Council

Dnccgrad.docx

EAST SUSSEX COUNTY COUNCIL

TOWN AND COUNTRY PLANNING ACT 1990

PLANNING (LISTED BUILDINGS AND CONSERVATION AREAS) ACT 1990 AS AMENDED 2015

___________________________________________________________________

To: East Sussex County Council

c/o Mrs Young

Frankham Consultancy Group

Irene House,

Five Arches Business Park,

Maidstone Road,

Sidcup, DA14 5AE

County Ref No HS/3484/CCLB

Borough Council Ref HS/CC/23/00602/ZT

In pursuance of their powers under the above mentioned Act, and Regulation, the Council as the local planning authority hereby GRANT PERMISSION for Listed Building Consent for various maintenance and repair works including repointing the front elevation of the library, rub down of the tower roof and preparation of internal stairwell to receive new lime-based plaster and breathable paint. The works also involve investigation of party wall roof, tower roof and rainwater goods to ascertain cause of damp ingress and carry out minor repair works and decorations to lightwell single glazed timber windows to the library Hastings Central Library, 13 Claremont, Hastings, East Sussex, TN34 1HE (Within land edged red on applicants plan no. DR/B/1000/S4 Rev PP01) in accordance with your application validated by the Director of Communities Economy and Transport, East Sussex County Council on 28 July 2023 and the plans and particulars submitted in connection therewith and listed below and subject also to due compliance with the condition(s) specified here under:-

1.	The works hereby permitted shall be commenced before the expiration of three years from the date of this permission.

Reason: To comply with section 18 of the Planning (Listed Buildings and Conservation Areas) Act 1990.

2.	The development hereby permitted shall be carried out in accordance with the plans listed in the Schedule of Approved Plans and Documents.

Reason: For the avoidance of doubt and in the interests of proper planning.

3.	The full extent of the works cannot be established until access scaffolding is in place, and further investigations have been carried out. This consent grants permission for the erection of the scaffolding and the further investigation works in respect of the following:

i) Works to the existing roofs, tower, and party wall structures.

ii) Works to prevent water ingress and any unforeseen repair works.

iii) Works to the existing lightwell joinery.

iv) Works to the parapets, cappings, copings, flashings, and the proposed access steps.

v) Works in respect of the bespoke window tray system.

Following further investigations, if the repairs cannot be carried out in the specified like-for-like manner, before any repairs are carried out, details of the proposed works must be submitted to and agreed in writing by the Director of Communities, Economy and Transport. The details must be submitted in the form of a written specification, marked-up floor plans with cross referenced supporting images, and proposed elevation and cross-section drawings at a scale no less than 1:10. The details must also include section drawings of any cills, heads, jambs, corner posts, mullions, transoms, stiles, rails, panels, glazing bars, decorative mouldings, and proposed reveals at a scale no less than 1:2.

Reason: To ensure that special regard is paid to protecting the special architectural and historic interest and integrity of the building under Section 16 of the Planning (Listed Buildings and Conservation Areas) Act 1990.

4.	All anchor fixings must be installed in a careful manner to minimise damage to the historic fabric. All fixing holes, and damage caused to the bricks by the anchor fixing bolts, must be repaired when the fixing bolts are removed. The bricks must be repaired with colour matched lime mortar plastic repairs unless they are damaged beyond repair. Bricks damaged beyond repair must be replaced with bricks that have a like-for-like colour, appearance, and texture as the bricks they are replacing.

Reason: To ensure that special regard is paid to protecting the special architectural and historic interest and integrity of the building under Section 16 of the Planning (Listed Buildings and Conservation Areas) Act 1990.

## SCHEDULE OF APPROVED PLANS AND DOCUMENTS

Hastings Library Repair Work - Heritage Note July 2023, DR/B/1000/S4 Rev PP01 - site Location, 228176 Fcg Mb 03 Dr B 2001 D2 C02, 228176 Fcg Mb 03 Dr B 2002 D2 C02, 228176 Fcg Mb 03 Dr B 2003 D2 C02(1), Design Calculations 2000 Cpd Zz Ca X 1105 A01, Design Risk Assessment 2000 Cpd Zz Ra X 1105 A01, Section Three Scope Of Works Phase 2 228176 Fcg Xx Xx Sp B 0402 S2 P02 Section 3   Phase 2, Facade Access Towers Location, Detail, Plan View 2000 Cpd Zz Dr X 1105 A02, Facade Access Towers Front Elevation, Sections A A & B B 2000 Cpd Zz Dr X 1106 A03, Section Three Scope of Works Phase 1 228176 Fcg Xx Xx Sp B 0402 S2 P02 Rev A received 05/04/2024

## The policies relevant to this Decision are:-

Hastings Planning Strategy 2011-2028 (adopted February 2014); Policies EN1 (Built and Historic Environment) & FA2 (Strategic Policy for Central Area).

Hastings Development Management Plan, (adopted September 2015); Policies HN1 (Development Affecting the Significance and Setting of Designated Heritage Assets), and HN4 (Development affecting Heritage Assets with Archaeological and Historic Interest or Potential Interest).

National Planning Policy Framework, 2023; The National Planning Policy Framework (NPPF) does not change the status of the Development Plan as the starting point for decision making but it does constitute guidance as a material consideration in determining planning applications. At the heart of the NPPF is a presumption in favour of sustainable development. Chapter 16 deals with conserving and enhancing the historic environment.

### For Note

In determining this planning application, the County Council has worked with the applicant and agent in a positive and proactive manner. The Council has also sought views from consultees and neighbours and has considered these in preparing the recommendation. This approach has been taken positively and proactively in accordance with the requirement in the NPPF, and as set out in the Town and Country Planning (Development Management Procedure) (England) Order 2015.

Signed:  Edward Sheath

Sarah Iles

Team Manager Planning Policy & Development Management

Date 12 April 2024

All enquiries should be addressed to:

Director of Communities Economy and Transport

Communities Economy and Transport Department,

County Hall, St Anne's Crescent,

Lewes, East Sussex, BN7 1UE.

Copies to:	C Rowsell – Property, Business Services

Zoe Taylor, Hastings Borough Council – for Statutory Planning Register

Local Land Charges – Hastings Borough Council