NMA COMMENTS RESPONSE NOTE

7th December 2012

This note has been prepared in response to the following comments made by the ESCC Development Management Team:

-	David Vickers 4th December (email) in relation to S24/H36 and S9/H25

-	Paul Carnell 3rd December (email) in relation to S25 and S26

-	Maresa Kingston 3rd December (email) in relation to S1/S1A, S20, H12 and H26

Under each of the NMA headings, the original comment is reproduced with the response on behalf of the applicant in italics.

S25 – Replacement of Bridge with a Ford over the Combe Haven.

The NMA looks ok, although I have one query. It relates to what is represented by a thin black line, running in close proximity to the equestrian path from Glovers Farm before joining up with the equestrian path at the Combe Haven. It is marked on the scheme layout Sheet 1 of 2, the environmental design sheet 2 of 4 and the overall scheme layout, but is not clear from any map legend what it actually represents.

The thin black line, running in close proximity to the equestrian path from Glovers Farm before joining up with the equestrian path at the Combe Haven on drawings 0040 R2 & 0043-0046 R1, was found to be an old construction line. This old construction line had arisen from of an old greenway chainage line being left on the drawings that should have been removed. The revised drawings B1297000-PH2/0100.01a/0040 R3 & 0043 R2 have been updated and accommodate this change.

S26 – Deletion of cyclist/pedestrian greenway crossing of Combe Haven and divert the greenway towards the existing crossing of The Combe Haven Stream

Again, this NMA generally looks ok, apart from a few queries. There is the issue of the same black line as mentioned in S25 on all three of the submitted revised plans. On the scheme layout, the black line seems to clearly link the greenway over the site of the bridge that is to be deleted, even though the greenway diversion is clearly shown below. On both the overall scheme layout and the environmental design plans, it has the effect of still showing some form of new crossing despite the proposed diversion. It would be useful to clear up what this line represents.

Again the same issue with the thin black line, as mentioned in S25 on all three of the submitted revised plans drawings 0040 R2 & 0043-0046 R1, was also found to show the same construction line as described above for S25 (old greenway chainage line being left on the drawings that should have been removed). The revised drawings B1297000-PH2/0100.01a/0040 R3 & 0043 R2 have been updated and accommodate this change.

The NMA does not acknowledge that the diversion would take the greenway out of the red line planning application area and what might be done to ensure the greenway is continued outside of the plan area.

In relation to NMA S26, please note that the existing crossing, which is now proposed to be utilised for the greenway crossing of the Combe Haven stream, falls outside the “red line area” covered by the planning permission. This NMA therefore only relates to diversion of the path insofar as it falls within the red line area.

Separate arrangements are being negotiated with the land-owner concerned, to allow use of the existing bridge and approaches to it.

In the event of those negotiations proving unsuccessful, the applicant will wish to revert to implementing the original (approved) proposal – requiring a new crossing. The design of the new structure would require the approval of the local planning authority under condition 5 of the permission and a submission for that purpose would therefore be lodged for consideration and approval.”

A sketch B1297000/SK/0002 Land Required Outside of CPO Boundary was previously created to highlight the area of additional land required outside of the redline area  to accommodate the change and to ensure to greenway is continued outside of the plan area. This sketch is attached with this letter for information.

A watercourse is shown on the northern side of the greenway, after the Combe Haven crossing, on the approved plan (208/31/5), the overall scheme layout and the environmental plan (sheet 2 of 4). It is not shown, however, on the scheme layout (sheet 1 of 2).

The watercourse shown on the northern side of the greenway, after the Combe Haven crossing, on the approved plan (208/31/5) and drawings B1297000-PH2/0100.01a/0043 & 0046 R1, but not shown B1297000-PH2/0100.01a/0040 R2 was found out to be an error. This error had arisen from the watercourse layer in this region being accidentally removed from the drawing. The revised drawing B1297000-PH2/0100.01a/0040 R3 has been updated to accommodate this change.

S24 – Delete the proposed crossing of Watermill stream for pedestrians and cyclists and instead of the new proposed bridge utilise the existing bridleway bridge at the Watermill stream for equestrians, pedestrians and cyclists.

The approved planning drawing 208/31/5 shows the proposed Greenway separate from the existing bridleway between Acton’s Farm and Watermill Stream. This is not shown on the Environmental Design (Sheet 3 of 4, B1297000. . . . . ./0044 Rev0). Is this an error or is the Greenway now to be incorporated into the existing bridleway ? If the latter it should be included as part S24.

The approved planning drawing 208/31/5 shows the proposed Greenway separate from the existing bridleway between Acton’s Farm and Watermill Stream, though the existing path is not clearly shown. The Greenway and Bridleway between Acton’s Farm and Watermill Stream are still separate as shown in drawing B1297000-PH2/0100.01a/0044 R0 with an existing hedge between, the NMA is not seeking to amend this part of the route. Therefore no change needs to be incorporated into S24 NMA Form as there has been no design change over this region (Acton’s Farm to Watermill Stream); simply a clearer plan of the design issued.

H36 – Combine Bridleway, Cycleway and Footway with the bridleway between Watermill Stream and approx chainage 3700.

There seems to be some discrepancy between the alignment of the Greenway applied for and how this is shown on drawings 0044 R0 and 0041 R2. Whichever alignment is preferred it seems to me that neither have been previously been discussed with the LPA? Please confirm.

The discrepancy was found to be between the Watermill Stream and the revision cloud for H36, where the bridleway and cycleway/footway is shown separate on the initial ESCC drawings 208/31/6 and 208/31/13, and is shown as combined on drawings B1297000-PH2/0100.01a/0041 R2 and 0044 R0. The Greenway and Bridleway are to be combined as proposed by H36 at the start of the existing structure over Watermill Stream, to approximate chainage 3700. Where the Greenway and Bridleway have a 1m verge in-between them, refer to cross section in Appendix A of Technical Note No.H001: Reduction in the Width of the Greenway Provision which is attached with this letter. The Revision cloud has now been extend to highlight this change as shown on the new revised drawing B1297000-PH2/0100.01a/0041 R3

H25 – The labelling of H25 on the drawings (….. 0040 R2, 0043 R1, 0046 R1) refers to the Greenway being south of proposed Glovers Farm Overbridge. Surely it is to the West ? Also why not simply refer to the Greenway as being west of Glovers Farm ?

New revised drawing B1297000-PH2/0100.01a/0040 R3 has been updated for clarity to highlight H25 is the Reduction of Width and Surfacing of the proposed Greenway, to the West of Glovers Farm.

General queries on drawing 0044 R0;

1.	What is the green broken line on the drawing for example in the top left hand corner.  It doesn’t not appear in the Key.

The green broken line on the drawing does appear in the key but was not shown at the right scale. The green broken line represents item Native Species hedge rows LE4.3, as shown in the key on the drawing B1297000-PH2/0100.01a/0044 R0.

2. What are the areas shown in Mint Green colour either side of the road and adjacent to Powdermill Stream. That colour does not appear in the Key. (NB, this is repeated on all Environmental Design Drawings)

The colours on the plan and in the key have printed better on the reissued drawings B1297000-PH2/0100.01a/0044 R1 and  B1297000-PH2/0100.01a/0046 R2 and the plan colours can be related to the key.

And on drawing 41 R2;

What is the bar code like marking that appears along the Greenway between Decoy Stream and Crowhurst Road ?

The barcode like marking that appears along the Greenway between Decoy Stream and Crowhurst Road represented the extent of the Earthworks for the Greenways. However as the vertical alignment of the Greenway designs are currently in the process of being revised this bar code like marking has been removed from the new revised drawings B1297000-PH2/0100.01a/0040 &0041 R3 and 0043R2.

1.  NMA's S1, S1A and H23

1.1     The text for S1 and S1A on drawing B1297000-PH2/0100.01a/0040 Rev 2 refers to the ‘….agreement with the EA …’ this is not relevant and there is too much text, which is unclear?  When will the EA accept the model outlined in Jacobs submitted ‘Egerton Stream Floodplain Compensation Summary Report’, November 2012?  The scale of the drawing at 1:2500 is too small to accurately measure the width of the verge from Belle Hill to Glovers Farm.

The EA accepted the model outlined in  ‘Egerton Stream Floodplain Compensation Summary Report’, November 2012 before the previous drawing B1297000-PH2/0100.01a/0040 R2 was issued. Therefore the text for S1 and S1A as shown on drawing B1297000-PH2/0100.01a/0040 R2 has now been revised to read  “Volume of flood storage at Egerton Stream reduced following revised flood modelling and agreement with the Environment Agency. Together with the elimination of the proposed Egerton flood storage tank and pumping station – To use open channels (surface storage) and oversized pipes in lieu of Egerton storage tank”. This change is shown on the revised drawing B1297000-PH2/0100.01a/0040 Rev 3. Although the scale of the drawing at 1:2500 is too small to accurately measure the width of the verge from Belle Hill to Glovers Farm, the NMA plan and application form both specify the actual measurements. For the NMAs, we have sought to provide replacement drawings showing revisions to the same scale as the relevant approved drawings which in this case is 1:2500. If, nevertheless, further supplementary description or plans are required please let us know.

1.2     What is the red pattern around the Swales?

The red pattern around the Swales represents the earthworks around the edges of the swales. This area is outside the clouding and does not form part of the NMA application. .

1.3     The Pond access at Chainage 3000 has been extended and a hammer head added?  Can you please clarify?

The Pond access at Chainage 3000 has been extended and a hammer head added, when comparing initial ESCC drawings 208/31/5 and drawing B1297000-PH2/0100.01a/0040 R2. This change has arisen due to development of the alignment design to have a smaller footprint.  This area is outside the clouding and does not form part of the NMA application.

1.4       The colour coding (turquoise?) on drawing B1297000-PH2/0100.01a/0040 Rev 2 to the south east and north of Ninfield Road is unclear and is not noted on the colour code to the Key?

The colours on the plan and in the key have printed better on the reissued drawings B1297000-PH2/0100.01a/0044 R1 and  B1297000-PH2/0100.01a/0046 R2 and the plan colours can be related to the key.

2.  NMA H26

2.1     The scale of the drawing at 1:2500 (B1297000-PH2/0100.01a/0045 Rev R0) is too small to accurately measure the width of the verge from Crowhurst Road Underbridge to Queensway Junction.

Although the scale of the drawing at 1:2500 (B1297000-PH2/0100.01a/0045 Rev RO) is too small to accurately measure the width of the verge from Crowhurst Road Underbridge to Queensway Junction, the NMA plan and application form both specify the actual measurements. For the NMAs, we have sought to provide replacement drawings showing revisions to the same scale as the relevant approved drawings which in this case is 1:2500. If, nevertheless, further supplementary description or plans are required please let us know.

2.2     In addition the accumulation of various lines shown on this drawing, along this part of the BHLR is confusion and does not allow for accurate measurements?

The accumulation of various lines shown on B1297000-PH2/0100.01a/0045 Rev R0 from Crowhurst Road Underbridge to Queensway Junction are contour lines, which are required for drawing B1297000-PH2/0100.01a/0045 Rev R0. However this area has been reviewed and the drawing has been cleaned up to better show Queensway junction and this part of the routes. This change is shown in the revised drawing B1297000-PH2/0100.01a/0041 Rev R3.

3.  NMA's S20/H12

3.1.  SCHEME LAYOUT  (SHEET 2 OF 2)

3.2     The drawing (B1297000-PH2/0100.01a/0041 Rev2)  does not include any reference to the access ramp and pedestrian footpath along the north west side of the Queensway? This was shown on the approved Preliminary Scheme drawing 208/31/6?

Drawing B1297000-PH2/0100.01a/0041 R2 not including any reference to the access ramp and pedestrian footpath along the North West side of the Queensway, was found to be an error, due to a drawing layer being wrongly turned off. The revised drawing B1297000-PH2/0100.01a/0041 R3 accommodates this change.

4.  ENVIRONMENT DESIGN (SHEET 4 OF 4)

4.1     The Queensway junction includes a number of lines along the road and therefore, for clarity only the relevant lines to explain the NMA should be shown on this drawing (B1297000-PH2/0100.01a/0045 Rev RO).  What are the two pink boxes outside the junction, located on the Queensway?

As described above in 2. NMA H26 2.2 the drawing has been cleaned up in the region from Crowhurst Road Underbridge to Queensway Junction to make the drawing read clearer. The revised drawing B1297000-PH2/0100.01a/0041 R3 accommodates this change. The two pink boxes outside the junction, located on Queensway, are traffic islands.

4.2     The majority of the planting on this drawing refers to Species Rich Neutral Grassland (LE1.3) with Neutral Grassland with Shrub (LE1.3.1) this does not accord with the approved Environmental Design plan (208.31.14), which shows Neutral Grassland with Scrub in these areas?

Following detailed design, these areas are now proposed to accommodate both Species Rich Neutral Grassland (LE1.3) with Neutral Grassland with Shrub (LE1.3.1), [which shows Neutral Grassland with Scrub only in these areas]. This issue is covered under the submission for Condition 14 and is consistent with that issue.

4.3     The agricultural fences as shown on the approved Environmental Design drawing have been omitted to the south and west of the  Queensway junction and gas valve compound?

This area is outside the clouding and does not form part of the NMA application.

4.4     The planting scheme appears to have been changed since the approved Environmental Design Plan e.g. new amenity grassland surrounding new woodland and copses rather than the approved new woodland and copses?  It is difficult to read the colour coding from the Key e.g. along Crowhurst Road is it Native Species Hedgerows or Native Hedgerows with Trees?

This issue is covered under the submission for Condition 14 and is consistent with that issue. This area is outside the clouding and does not form part of the NMA application.

4.5     The colour code for Existing Woodland to be Managed (LE2.1.1) is incorrect on the Scheme Layout Plan (Sheet 2 of 2).

The difference in colour of the Key and what shown on the drawing is due to unintended effects of printer colour settings which are not easy to compensate for. We do hope you will accept the drawing in its present form now this note has clarified the position.

4.6     To the north west of Crowhurst Road there is an area of Scrub?  The approved Environment Design drawing shows Woodland Edge Management?  The NMA drawing does not clearly indicate the colour coding on the Key?

The colours on the plan and in the key have printed better on the reissued drawings B1297000-PH2/0100.01a/0044 R1 and  B1297000-PH2/0100.01a/0046 R2 and the plan colours can be related to the key. This area is outside the clouding and does not form part of the NMA application.

4.7     There is no red line around the application site resulting in omissions in parts e.g. the agricultural access to the North West.

The NMA drawings have shown the same site boundary line (labelled 'Limit of landscaping area') as on the original planning drawings but the line style has changed (this change is reflected in the key). This area is outside the clouding and does not form part of the NMA application.

5.0     OVERALL SCHEME  LAYOUT

5.1     It is unclear from the drawing (B1297000-PH2/0100.01a/0046 Rev R1) that the black triangle on the eastern side refer to the verge width reduction as shown on the western side of Crowhurst Road Underbridge?  The scale is too small to take accurate measurements of the verges?

The black triangles to the East and West side of the Railway refer to item Scrub LE2.8 as shown in the key on drawing B1297000-PH2/0100.01a/0046 Rev R1. This is scrub below the bridge deck of the Railway Bridge.