BEXHILL TO HASTINGS LINK ROAD

REVIEW OF CONTRACTORS DELIVERABLES

Drawing/Document reviewed:	Approval in Principle for S07 Combe Haven Underbridge

Document Reference:		B1297000-PH2/1600.06a/0007 (rev 0)

Date of Receipt:			28 August 2012

Date of Review by TAA:		7 September 2012

Date of Review Response:

The Drawings/Documents have been reviewed. The submission is NOT accepted.

The following comments below have been identified.  Please review all comments above, revise the drawings/document as appropriate, and provide a response to comments.

| AIP | Review Comment | Contractor’s Response |
| --- | --- | --- |
| Cl 1.1 | The 2.5m verges conflict with the 1.2m shown on Drg. |  |
| Cl 3.8.1 | AC-4z is not consistent with Geotechnical Summary Sheet. |  |
| Cl 4.1.2 | Original AIP stated 45units of HB loading, ( see emails dated 1 Sept 2009 between Jacobs, ESCC & Mott McDonald) |  |
| Cl 4.1.5 | Clarify how surcharging of approach embankments would be carried out without conflicting with the principle of overspanning the existing stream and not interfering with its channel. |  |
| Cl 4.3 | The original AIP included two Departures from Standard, re CHE Memo 227/08 & IAN 96, (these had been agreed in advance and clarified that a sand asphalt layer was not normally required, and impregnation was also not required for BHLR structures. Please reinstate these as it clarifies what is proposed. |  |
| Cl 5.1 | Amend ‘Retaining walls’ to ‘Wingwalls’ |  |
| Cl 6.3 | Include that 20mm differential movement between the piled structure and the approach embankments will be taken into account, and that provision will be made for this vertical movement for the N2 parapet at the interface of the free standing wingwall with the piled section. |  |
| Cl 8.1 | Drawing No. is for previous phase |  |
| Cl 10 | Please leave a space for any required Conditions/Amendments by TAA. |  |
| Appendix A TAS | Implementation BDs for BS 5400 are incorrect , (ie ‘See BD1’,etc) |  |
| Appendix B | Cover Sheet: Incorrect Drawing No? ( ie -PH1-) |  |
| GA Drg | Drawing Number & Title on the drawing is not consistent with that stated on Appendix B Cover Sheet. What is the basis for 600mm wide parapet plinths? F5 finish shown to wingwalls conflicts with Cl 3.8.1 Clarify provisions for relative movements between piled wingwall and free standing section of wingwall, how will parapet accommodate this? |  |