BEXHILL TO HASTINGS LINK ROAD

REVIEW OF CONTRACTORS DELIVERABLES

Drawing/Document reviewed:	Approval in Principle for S16 Railway Bridge

Document Reference:		B1297000-PH2/1600.06a/0016(rev 0)

Date of Receipt:			21 September 2012

Date of Review by TAA:		18 October     2012

Date of Review Response:

The Drawings/Documents have been reviewed. The submission is NOT accepted.

The following comments below have been identified.  Please review all comments above, revise the drawings/document as appropriate, and provide a response to comments.

| AIP | Review Comment | Contractor’s Response |
| --- | --- | --- |
| General | Network Rail (NR) requirements and restrictions have yet to be incorporated into the AIP. Buildability: Building a bridge over a live railway introduces many constraints. Erection has to be anticipated by the Designer to ensure that it is practicable and it minimises hazards and reduce risk as far as practicable. The TA procedures given in BD 2/05 require buildability aspects to be covered in the AIP and that there is also adequate provision for safety under all circumstances. A viable method of construction is integral to the design of this bridge, (and also for future discussions/agreements with NR), and so some outline details of the proposals should be provided in the AIP. Span ratios: Has preliminary design shown that the 18m west span is sufficiently long relative to the 45m railway span to be structurally satisfactory? For example full live loading on the railway span could cause uplift on the bearings at the West Abutment. Can 6.9% crossfall to carriageway be reduced as the permitted traffic speed has decreased from 60 to 40mph? The ESCC Structures Manager has strong objections to the possibility of a ‘Perspex screen’ being provided on the top of the parapets, (durability, maintenance, vandalism, etc). NR may also be averse to the placing of such a screen over the tracks. The ESCC Structures Manager has requested that anti-pigeon measures are provided and that the structure is detailed to minimise bird access and roosting positions. |  |
| Cl 3.4 | See comment above regarding Span 1, and maybe it will need to be increased. |  |
| Cl 3.5 | Cl 3.5 is not consistent with the layout shown in Appendix D which shows a guided bearing on the pier. Clarify proposed guidance system, (ie is the deck guidance radially from a fixed point, or is it guided tangentially to the curve?). Reconsider whether the ‘fixity’ is best provided at the West Abutment. Due to the span ratio the reactions at the West Abutment bearings will be low and will not be as great as at the East Abutment. Low minimum vertical loads on bearings at the West Abutment may require special/expensive fixed bearing. (Whilst it is appreciated that ‘fixity’ at the West Abutment is probably preferable for the erection sequence, it may not be ideal due to the reason stated above). Use of a buried movement joint at ‘fixed’ end of steel bridge may not be appropriate. SCI advise that this may lead to early joint failure, (larger rotations/deflections compared to a concrete bridge). |  |
| Cl 3.7.2 | Clarify 2nd para regarding ‘other deck’. State proposed means of access to the abutment gallery, (from abutment top, side, front?). The proposed ‘access steps at each end of the bridge’ should be shown on the GA drawing. Clarify how this access route interacts with the N2 parapet on the west approach. Clarify ‘Personnel access to the working areas at the abutments would be from Crowhurst Road’. What means of access to East Abutment? ESCC Structures Manager has requested an access route from Crowhurst Road to the pier for wheeled hoist/inspection platform vehicle. A minimum dimension of 600mm has been stated for access to bearings. Based on recent problems with some ESCC bridges that have suffered from cracking/spalling to plinths, ESCC would be satisfied with a minimum of 300mm clearance for inspection, maintenance and future bearing replacement as there will be access from both front and rear at the abutments with an abutment gallery, and also at the pier. There is a compromise between what would ideally be provided for easy access and that which will provide a plinth that will not be prone to structural collapse. Maintaining reinforcement in the correct location and close to surfaces in highly stressed plinths is a problem. Note that the above is a general comment applicable to all the BHLR structures with bearings, but it needs to be considered on a bridge by bridge basis as some bridges are more prone to having bearing plinth problems, (eg those with ‘fixed’ bearings), and the other BHLR bridges do not have abutment galleries and so may not have such good access. (CIRIA Guide C543 provides advice regarding bearing plinths and abutment galleries). |  |
| Cl 3.8.1 | Whilst it is accepted that the ‘Note regarding cover to ribs of GRP formwork as per IAN 95/07’ does not affect limiting exposure class, the ‘Note’ has been previously provided for other BHLR structures at Cl 3.8.1. Provide details for concrete end diaphragm. Provide details for both buried and exposed parts of abutments and wingwalls. Clarify concrete details for abutment galleries. Clarify proposals for ‘Substructure buried’. AC-3z is given in Geotechnical Summary as ACEC class for buried concrete classification, (some bases are in natural ground, others on replacement ground but below groundwater, and West Abutment is raised well above existing ground level). Add information regarding paint system for N2 steel parapets and bearings Location of ‘S355 K2 W+N’ is stated to be at ‘areas as noted on the drawings’, but it is not shown on the drawings. (It is not necessary to show it on the drawings and so please revise text.) |  |
| Cl 4.1.5 | Add that design will consider loading due to large diameter drainage pipe flowing full. Clarify whether the pier is adequately clear of tracks so as not to be subject to impact loading from rail traffic |  |
| Cl 4.1.8 | Clarify that Network Rail have yet to be consulted, and any NR ‘Special Requirements’ have yet to be discussed. Clarify the provisional requirement for the ‘Perspex screen’ shown on the top of the parapets. |  |
| Cl 4.2.1 | The inclusion of HA 65/94 and HA 66/95 were previously requested to be included in case the ‘Perspex screen’ shown on the top of the parapets has to be provided, (despite objections by ESCC Structures Manager). The list of ‘Railway Group Standards’ and ‘NR Company Standards’ has not been reviewed at this stage, (will be considered following consultation with NR). Add, (as noted in Contractor’s Response, 3 Sept 2012),, IAN 117/08 Rev 2. |  |
| Cl 4.3 | The original AIP included three Departures from Standard, (ie regarding: CHE Memo 227/08, IAN 96/07, and ‘Use of permanent formwork etc’. Please reinstate these. |  |
| Cl 5.1 | Clarify proposals for dealing with the effects of the small curvature in plan. Add that the permanent bracing is to be analysed and designed for service conditions as well as construction stages, (probably requires a plane frame model, and this should be shown in Appendix D). |  |
| Cl 8.1 | Drawing titles are not consistent with those shown on the drawings. |  |
| Appendix A TAS | Include BD 35/06 (relevant regarding painting of N2 parapets/bearings). Include BD 62/07, (Note: I have incorrectly requested BD 62/07 to be omitted from the TAS for some other BHLR structures. The ESCC Structures Manager has advised that procedures/requirements for as-built/maintenance handover documentation relating to structures should be to BD 62/07). |  |
| Appendix D | Representation of ‘diaphragm’ grillage member shown at pier does not appear to be consistent with proposal shown on Section C of drawings. Clarify that ‘main girders’ is composite steel/concrete member. The ‘guided bearing’ shown on the pier is not consistent with the proposal stated in Cl 3.5. Location of ‘fixity’? (See Review Comment at Cl 3.5). Add a ‘Simply supported line beam model’ (for steel erection/concrete pours/shrinkage etc), OR cover the proposals in the text at Cl 5.1. Add ‘Plane frame model’ representing K-bracing. |  |
| Appendix E | See comments provided at Cl 4.3 regarding Departures from Standards |  |
| GA Drg | Drawing titles not consistent with Cl 8.1. Provide Location Plan. Provide outline details of the proposals for erection/construction sequence. The proposed ‘access steps at each end of the bridge’ should be shown on the GA drawings. Show that the parapet will not be acting in conjunction with the deck slab and steel beam to form a main structural member, (ie discontinuity joints) Clarify that ‘350’ refers to deck slab thickness, (350mm appears to be excessive?). Can 6.9% crossfall to carriageway be reduced as the permitted traffic speed has decreased from 60 to 40mph? (Amongst other things this would simplify details at the required haunches at the deck slab/beam interface). Clarify/amend ‘Enviro deck units connect into drainage system on north kerb’. Provide a level maintenance platform to the front faces of the abutments. Proposals for Safety Screens at the railway during construction? Details for abutment gallery need to be improved, (eg floor of gallery should be lowered by 600mm; drainage pipe to be extended down to channel; show dimensions of gallery, means of access). Clarify on Section A the proposed concrete encasement of the steel support bracing. Clarify on the Plan regarding ‘P/W 1.4mh’; is this the fence line? A cross section at the north edge of the Railway Span may also be required to show the existing ground levels and the tracks in relation to the proposed pier, (may assist in discussions with NR). |  |